**Instructions for measuring INR on POCT device**

**Device: INRatio 2**

1. The analyzer is started by pressing the button OK. Next hold the test strip.
2. Check the code on the screen of device with the code on the container with strips. The wrong code may produce incorrect values of INR.
3. Prick the side of a fingertip with your lancing device.
4. Encourage a drop of blood to form by gently massaging your finger towards the fingertip.
5. Using a pipette put a drop of blood on the strips. The place when we should put a drop is indicated by green light.
6. The results appear on the screen, they can be printed.
7. Remove the test strip from the meter.